## Slide 1: Processing Your Own Data
With FreeSurfer, certain variables must be set in order to use it correctly:
FREESURFER_HOME
SUBJECTS_DIR
tell Operating System where FreeSurfer is
tell FreeSurfer where data is
Notes: -That was all the easy stuff. When you go to use FreeSurfer, you’ll have to enter all sorts of commands
-for the tutorials today, these variables will already be set for you. But when you go home and use FreeSurfer on your own machine, you will need to make sure you have these variables set before you can begin working with FreeSurfer.

## Slide 2: Required Variables
To use FreeSurfer you’ll have to do:
setenv FREESURFER_HOME /home/apps/freesurfer
source $FREESURFER_HOME/SetUpFreeSurfer.csh
tell Operating System where FreeSurfer is
source this script to get your computer ready to use FreeSurfer (sources other scripts & sets other variables)
setenv SUBJECTS_DIR /path/to/data
Notes: -Set up environment or initialize freesurfer (see setenv a lot)

## Slide 3: Getting Started with FreeSurfer
Download freesurfer
https://surfer.nmr.mgh.harvard.edu/fswiki/DownloadAndInstall
Note: Anything in red below means you should substitute it with the correct info
For Macs only:
use X11
Go to X11 > Preferences > Check “Emulate 3 button mouse”
For other machines:
Open a terminal window
To get started using FreeSurfer:
setenv FREESURFER_HOME /Applications/freesurfer (may be different location for non-Macs)
source $FREESURFER_HOME/SetUpFreeSurfer.csh
setenv SUBJECTS_DIR /insert/path/to/your/subject/data
Notes: comprehensive instructions on downloading installing on the wiki
set Freesurfer_home to location where it was downloaded

## Slide 4: From Scanner to FreeSurfer
For dcm format:
If you do not know which of a subject’s dicoms is the MPRAGE/T1 scan:
cd to directory with subject’s dicoms
unpacksdcmdir -scanonly scan.dat -src . -targ .
When that command is done running:
more scan.dat
Find the dicom series name for the MPRAGE(s) you want to submit to FreeSurfer (hint: will have matrix size of 256 x 256 x 128)
You will need the full path to the MPRAGE(s) and the name of the 1st series in the MPRAGE to run recon-all.
Create a directory for your subject data. This will be your SUBJECTS_DIR.
setenv SUBJECTS_DIR /path/to/study1
cd $SUBJECTS_DIR
recon-all -i /path/to/subject's/mprage.dcm -i /second/mprage/if/you/had/one -all -s subj001
mkdir study1
Notes: point out periods mean “here”
dicoms don’t have to be in subjects_dir – it is where processed data will go
-recon-all will convert dicoms to mgz but for other formats have to do this a different way

## Slide 5: Other File Formats
For nifti format:
Create a directory for your subject data. This will be your SUBJECTS_DIR.
setenv SUBJECTS_DIR /path/to/study1
cd $SUBJECTS_DIR
mkdir -p subj001/mri/orig
cd /location/to/one/subject’s/nifti_file
mri_convert nifti_file 001.mgz
cp /location/to/001.mgz /location/to/subj001/mri/orig
cd $SUBJECTS_DIR
recon-all -all -s subj001
mkdir study1
Notes: in the other slide, freesurfer will make subject’s directory for you but in this case you want to make one since you will have to do the first step recon-all does manually since you are using a format other than dicom